# Thermal Dissociation of the Trityl Radical Dimer –  Reaction Monitoring On-line by Electrospray Mass Spectrometry

Jens Griep-Raming and Jürgen O. Metzger

University of Oldenburg, Department of Chemistry, P.O. Box 2503, 26111 Oldenburg, Germany

Radicals are important intermediates in many industrially considerable processes and in synthetically useful reactions as well as in biological systems. However, the methods to detect radicals are limited. In order to develop a new method to detect radicals in solutions, we studied simple radical reactions, such as dissociation of azo compounds, peroxides or radicals dimers with electrospray ionization (ESI) mass spectrometry (MS). Here we report on the dissociation of the trityl radical dimer (1-diphenyl-methylene-4-trityl-2,5-cyclohexadiene, 1).

The dimer 1 dissociates thermally and gives two trityl radicals 2. Using the electrolytic process that is inherent with ESI1, it is possible to ionize radical 2 selectively. Spectra acquired with dichloromethane/acetonitrile (50:50, v/v with addition of 1mmol·l-1 lithium trifluoromethanesulfonate) as the solvent show only one signal at m/z 243, which is contributed to the trityl cation, generated by electrolytic oxidation of radical 2. The dimer 1 cannot be oxidized by this method. With a home built ESI source we are able to heat the electrospray capillary directly. This allows us to monitor this thermally initiated reaction on-line. It could be shown that the intensity of the trityl cation signal increases with increasing spray capillary temperature.

Literature:

- G. J. van Berkel, The Electrolytic Nature of Electrospray,  in Electrospray Ionization Mass Spectrometry – Fundamentals, Instrumentation and Applications, Ed. by R. B. Cole, Wiley, New York, p. 65-105 (1997)